DIVISION 10 - SPECIALTIES

SECTION 10 51 13

METAL LOCKERS

CP Furniture Systems, Inc. - RESISTO LINE (S5000)

This guide specification covers the general requirements for metal lockers for storage of personal belongings.

Show the following information on the drawings:

- Location, grade and size, quantity, and color of lockers (plans).

- Trim, accessories, and adjoining surfaces details (elevations).

- Mounting details and whether legs, base panels, or pre-built bases are required (details).

**************************************************************************

- PART 1 GENERAL

**************************************************************************

  - REFERENCES

External References:

      - ADAAG - Americans with Disabilities Act, Accessibility Guidelines.

      - ASTM A 1008 - Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability.

      - ASTM D523 – Standard test method for specular gloss (similar to ISO 2813)

      - ADA parallel reach requirements. (for maximum accessibility)

      - ADA forward reach requirements. (for narrow reach areas)

Related Sections

      - Section 06 10 53 - Miscellaneous Rough Carpentry for securing lockers to bases and walls.

      - 03 30 53 - Miscellaneous Cast-in-Place Concrete for locker bases.

  - SUBMITTALS

Comply with 01 33 00 Submittal Procedures

Provide manufacturer’s product data

Shop drawings showing plan and elevation with clearance requirements, accessories and anchoring detail

Provide numbering system and lock control chart

Three manufacturer’s standard color charts suitable for color selection

  - DELIVERY, HANDLING, AND STORAGE

Storage: Store materials in clean, dry, indoor areas.

Handling: Protect materials and finish during handling and installation to prevent damage to lockers or adjacent work.

  - FIELD MEASUREMENTS
To ensure proper fits, make field measurements prior to the preparation of drawings and fabrication. Verify correct location.

  - QUALITY ASSURANCE
Provide lockers from a manufacturer with a minimum of 10 years experience with a similar product and with a eight (8) year warranty. Install by a crew with a minimum of 10 years experience with a similar product and with a one year warranty.

1.6	ALTERNATIVES

No alternatives will be allowed or considered

**************************************************************************

- PART 2 PRODUCTS

**************************************************************************

  - MANUFACTURER

C + P Möbelsysteme GmbH & Co. KG, Breidenbach, Germany with US Headquarter, CP Furniture Systems, Inc., 222 Merchandise Mart Plaza, Suite 10-166, Chicago, IL 60654

  - MATERIAL

ASTM A 1008 cold rolled steel sheet doors, bodies and accessories

Zinc plated bolts, rivets, nuts, and interior equipment.

Liquid or Powder coat Finish on steel sheet bodies, doors, and accessories.

      - Surface Preparation:  Clean and treat locker components with multi-step detergent/iron phosphate coating, rinse with cold water, and seal with non-chrome treatment.

      - Finish Coat:  Apply finish topcoat of 1-1.2mm thick high-solids polyester paint over primer with electrostatically charged dipping/spray process.

      - Paint exposed and concealed parts the same color.

      - Paint corrosion resistant.  UV resistant upon request

  - BODIES

Tops and bottoms with three sides formed 90 degrees for strength, the front offset formed to be flush with horizontal frame member.

Sides to be formed with intermediate stiffener ribs.

Shelves with four sides formed to 90 degrees

    - All parts on assembled lockers shall be securely welded.

    - Tops and bottoms are to be a single piece for the entire locker grouping with three sides formed at 90 degrees and the front is to be channel formed and welded to each vertical frame member.

    - Backs are to be a single piece for the entire group of lockers.

Fully framed lockers shall provide structural resistance to force in all three planes.

Body, Frame & Door colors (RAL or RDS) to be specified on drawings

All colors according to ASTM D523, specular gloss measured on a 60 degree angle

  - DOOR CONSTRUCTION

Resisto Locker Doors to be made from 1.5mm steel, stamped from one single, solid piece of steel, bulging outward (convex).

Door to be fitted with limiter to be set to 80 degrees angle and stop silencer

Door opening to the right with swivel rod hinge

  - FRAME

Resisto Locker is available in the following configurations:

Full height 4 or 5 tier

Half height, 1, 2 or 3 tier

Full height, extra large 2 tier

Full height, extra large combination (2 tier combined with 4 or 5 tier)

Measurements:

Full height:  1850mm high; 540mm, 640mm or 740mm depths; 1x4 frame (4 lockers) 396mm width, 2x4 (8 lockers) 770mm width, 3x4 (12 lockers) 1150mm width; 1x5 frame (5 lockers) 396mm width, 2x5 frame (10 lockers) 770mm width, 3x5 frame (15 lockers) 1150mm width

Half height:  1077mm high; 540mm, 640mm, 740mm depths; 2x1 frame (2 lockers) 770mm width, 3x1 frame (3 lockers) 1150mm width, 2x2 frame (4 lockers) 770mm width, 3x2 frame (6 lockers) 1150mm width, 2x3 frame (6 lockers) 770mm width, 3x3 frame (9 lockers) 1150mm width

Full height, extra large: 1950mm high; 540mm, 640mm, 740mm depths; 1x2 frame (2 lockers) 396mm width, 2x2 frame (4 lockers) 770mm width, 3x2 frame (6 lockers) 1150mm width

Full height extra large combination:  1850mm high; 540mm, 640mm, 740mm depths; 2-4-2 tier combination (8 lockers) 1150mm width, 4-2-4 combination (10 lockers) 1150mm width, 2-5-2 combination (9 lockers) 1150mm width, 5-2-5 combination (12 lockers) 150mm width

Net dimensions of each locker:

Full height:  4 tier:  420mm h x 320mm w x 460mm/560mm/660mm d,

5 tier:  336mm h x 320mm w x 460mm/560mm/660mm d

Half height:  1 tier: 870mm h x 320mm w x 460mm/560mm/660mm d,

2 tier:  420mm h x 320mm w x 460mm/560mm/660mm d, 3 tier: 336mm h

x 320mm w x 460mm/560mm/660mm d

Full height, extra large: 2 tier: 870mm h x 320mm w x

460mm/560mm/660mm d

Full height, extra large combination: 2-4-2 or 4-2-4:

420mm/870mm h x 320mm w x 460mm/560mm/660mm, 2-5-2 or 5-2-5:

336/870mm h x 320mm w x 460mm/560mm/660mm

Locker to come with plinth (100mm high) with 30mm individual height adjustment

  - DOOR LOCKS

Standard to be Cylinder lock with keys

Optional available locks (specify on drawings):

      - Safety turning bolt for padlock use

      - Electronic Combination lock

      - Biometric (fingerprint) lock

      - Custom, specify on drawings

  - LOCKER VENTILATION

Ventilation in rear of locker using a 20mm wall spacer

  - LOCKER FINISH/OPTIONS

Standard top finish with 25mm thick MCPB (Melamine Coated

Particle Board) for half height lockers only, specify on drawings

if needed

Standard front: steel in many different colors (RAL or RDS) to be

specified on drawings

Standard fit for combination lockers only:  1 coat rail with 3

sliding hooks

Optional top finish available (for half height lockers only)in

glass, phenolic (HPL), or real wood – color/finish to be

specified on drawings, see CP Furniture Systems, Inc.’s current

catalog for color/finish options

Optional sloping top, approx. 230mm high in the rear, available

for all body widths, 26 degree angle

Optional electrical outlets in each locker, specify on drawings

Optional Number plates (self-adhesive, plastic or S.S.)

**************************************************************************

- PART 3 EXECUTION

**************************************************************************

  - EXAMINATION

Do not begin installation until substrates and bases have been properly prepared.

Substrate and bases are the responsibility of another installer; notify Architect of unsatisfactory preparation before proceeding.

  - INSTALLATION

Install metal lockers and accessories at locations shown in accordance with manufacturer's instructions.

Install lockers plumb, level, and square.

Anchor lockers to floor and wall according to manufacturer’s recommendation.

Secure adjoining locker units together to provide rigid installation.

Install sloping tops and metal fillers using concealed fasteners.  Provide flush hairline joints against adjacent surfaces.

Install front bases between legs without overlap or exposed fasteners.  Provide end bases on exposed ends.

Install benches by fastening bench tops to pedestals and securely anchoring to the floor using appropriate anchors for the floor material.

  - ADJUSTING AND CLEANING

Adjust doors and latches to operate without binding.  Verify that latches and locks are operating satisfactorily. Verify that ADA lockers operate according to code.

-- End of Section --

SECTION 10 51 13