**SPECIFICATION SHEET:**



**CP Moeble Fire Station Lockers**

**FULL LENGTH LOCKERS**

**Dimensions:**

**Height Width Depth Nesting**

1775 mm 300 mm 300 mm 1 2 3

1775 mm 300 mm 450 mm 1 2 3

1775 mm 380 mm 380 mm 1 2 -

1775 mm 380 mm 450 mm 1 2 -

1775 mm 450 mm 450 mm 1 2 -

**Strength and Security with Style**

Sturdy Construction: Door frame constructed from heavy gauge mild steel of press formed channel section.

Door Strength: Full length door stiffeners for extra door rigidity and three ‘five knuckle’ semi-concealed

hinges.

Style: Attractive and functional locker design.

Colour: Automated paint plant ensures consistent high quality finish in a wide range of modern

colours.

**Detailed Product Specification**

Nesting: Lockers can be supplied as single units or nested in groups during the manufacturing process.

All lockers are holed in back and sides to enable them to be bolted together into rows or back

to back to suit your requirements. **Note:** When preparing locker room layouts allow

approximately 4 mm extra for each nest for rivet heads at the sides of lockers in each row.

Construction: Spot welded and pop riveted.

Material: Mild steel Powder Coated.

Door Frame Assembly: Comprising two uprights manufactured from heavy gauge mild steel of press formed channel section; top and bottom cross members which are designed to create door stops. Spot welded construction produces a rigid frame enabling door clearances to be maintained in

accordance with British Standard requirements. The top cross member is provided with a

series of ventilation slots.

Doors: Doors are attached to the right hand side of door frame upright with three ‘five knuckle’ semiconcealed hinges. Doors are fitted with a plastic escutcheon plate around the lock, which can

also act as a name card/locker number holder. The inside of the door has a full length vertical

‘stiffener’ to provide greater rigidity. Two rubber buffers are fitted to the top and bottom

corners of the door for quiet closure.

Bottom: The bottom is formed as a 60 mm high plinth. All edges have return bends and the front and

rear edges drilled for fitting to stands or stands with seat.

Shelf: The lockers are fitted with a shelf 315 mm from the top, giving a clear 250 mm opening,

allowing adequate space for the average crash helmet with chin protector, or other articles.

Hook & Hanger Rails: A coat hook is located each side of the main compartment under the shelf; for lockers over 300 mm deep a plastic coated clothes hanger rail is also fitted.

Locking: Standard options are either 10 disc tumbler cam lock in mastered suite with two keys to each lock or, at no extra cost, a latch lock for the user’s own padlock (recommended padlock shank

dimensions 6 mm).

As an optional extra for added security we can supply full reach espagnolette bolts giving

three point locking (ie, top, bottom and centre) with either of the standard locking options.

We can also supply, as an optional extras, a wide range of locking options, please ask for

details.

Ventilation: Ventilation is provided by a series of unique ventilation slots in the top cross member.

Paint Finish: Five stage automatic degreasing and phosphating process to remove surface contamination.

This base gives improved adhesion and humidity resistance. The powder is electrostatically

applied prior to oven baking at the appropriate temperature.

Colour Range: Standard locker frame Powder Coated colours is: “Ice”. Standard door colours are: “Ice”,

“Black”, “Rockpool”, “Smoke”, “White”, “Skye”, “Yellow”, “Royale”, “Forest” and “Cherry”. The

CP Moeble general brochure illustrates these colours. Exact colour samples are available.

**OPTIONAL EXTRAS:** The following can be supplied at an additional cost and, if included, will be specified in the

quotation.

Three Point Locking: The system provides effective and secure latching, allowing locking at three positions.

Perforation: Most parts of the locker can be perforated with the unique ‘Helmsman’ perforation profile.

Where Full Length Lockers have perforated doors it is strongly recommended that three point

locking be fitted for added security.

Locker Numbering:

a) Number Label – Made of silver polyester, with a permanent, self-adhesive back. Numbers

are printed in black and can comprise one to four digits including letters.

b) Number Plate – Made of laminated plastic, white numbers on black, numbers can comprise

one to four digits.

c) Number Discs – Laminated plastic 25 mm diameter, white numbers on black, numbers can

comprise one to four digits. The disc is holed and a split key ring is provided.

Stands/with Seats: Lockers can be provided with either stands or stands with seats with or without adjustable feet. Please refer to Specification Sheet S015.

Sloping Tops: Lockers can be manufactured with a sloping top. Gradient 1:3, ie

300 mm deep unit increased height at rear 100 mm

380 mm deep unit increased height at rear 126 mm

450 mm deep unit increased height at rear 150 mm

End Panels: For aesthetic appearance and to protect row ends, specifically designed end panels are

available.

Installation: Alled offers a full installation service for its products.

**Bespoke:** We have the ability to customise our products to meet your requirement and space, providing solutions for

awkward corners, uneven floors or even curved walls.

**After-sales Service:** All of our products are supported by the Allied Service team who provide technical advice, maintenance schemes, prompt delivery of replacement keys/parts and product refurbishment.

**Allied Workspace**

24 Tolka Valley Business Park

Glasnevin

Dublin 11

+353 1 8532222

[www.allied.ie](http://www.allied.ie)

For assistance with specification please contact **Jane Delany**

[janedelany@allied.ie](mailto:janedelany@allied.ie)

+353 86 8116052