PLEASE NOTE IT IS THE RESPONSIBILITY OF THE CONTRACTOR PLACING AN ORDER BASED ON THIS SPECIFICATION TO CONFIRM ALL DETAILS ARE CORRECT


K


Linings/Sheathing/Dry partitioning
K30 Panel partitions

Polar Single Glazed partition system – Fire Rated
    • Manufacturer: Komfort Workspace

      - Web: www.komfort.com

      - Tel: +44 (0)1403 390 300
      - Fax: +44 (0)1403 218 828
      - Address: Ashurst, Broadlands Business Campus, Horsham, West Sussex, RH12 4QP

    • Agent: Allied Workspace Ltd

     - Tolka Valley Business Park, Glasnevin, Dublin 11

     - Contact: Tim Evans

     - Mobile +353 87 2262228

     - Tel: +353 1 8532222

     - Email: timevans@allied.ie
    • Product reference: Polar Single Glazed partition system – Fire Rated
    • Location: As drawing ___ 

    • Layout: As drawing ___ 

    • Performance of completed system: 

      - Fire resistance to BS 476-22: 30 minutes integrity and 30 minutes insulation 

      - Fire propagation to BS 476-6: Class 0 (England / Wales / N. Ireland) 

      - Spread of flame, to BS 476-7: Class 1 

      - Acoustic insulation to BS EN ISO 140-3: 36dB (Rw) 

    • Partition height: To suit floor to ceiling height of ___ 

      - Deflection allowance: Not required /Required 

    • Glazed panels: 

      - Glass: 10 mm toughened /12 mm toughened glass /12 mm Komfort intumescent 

        toughened 

      - Glazing joints: 

      - In-line: Komfort Silicone joint       

       - Manifestation: (To conform to Document ‘N2’ of the Building Regulations 1992)   

    • Framework finish: Kolourframe stove enamelled /Kolourframe polyester powder coated 

      /Komfort hammer finish /Satin anodized aluminium 

      - Colour: BS 4800 ref ___ /RAL ref ___ 

    • Incorporated features: 

      - Door: 

      - Fire rating: 30 minutes          

      - Type: Glass /Solid core         

      - Size: 1981 mm x 838 mm x 44 mm /2040 mm x 826 mm x 44 mm /___ mm x ___ mm x 

        ___ mm         

      - Finish:         

      - Vision panel:        

      - Overpanel:

      - Ironmongery: 

      - Blind: 

      - Type: Perforated slat,15 mm /Perforated slat,25 mm /Plain slat,15 mm /Plain slat,25mm         

      - Finish: Brushed aluminium /Polished aluminium /Satin anodized aluminium, colour as 

        partition framework /Satin anodized aluminium, colour ___     • Accessories: 1-gang/ 2-

        way, double insulated rocker switch /PIR detector /Switch face plate, satin anodized 

        aluminium, colour ___ /Ultrasonic detector 

    • Installation: Frame installation and glazing to be carried out by Komfort Workplace 

      approved installer.

